[bookmark: _GoBack]QuarkNet Cosmic Ray Muon Detector 
Parts List


DAQ: ________________

	Component
	Quantity
	Unpacking
	Packing

	Muon Counters (assembled)
	4
	
	

	Data Acquisition Board (DAQ)
	1
	
	

	GPS Antenna with 5 meter cable
	1
	
	

	Temperature sensor
	1
	
	

	GPS/Temperature Module
	1
	
	

	GPS 100 foot (30.48 meter) CAT-5E cable
	1
	
	

	Power Distribution Box (PDU)
	1
	
	

	Power Supply 5 VDC (with cable)
	1
	
	

	PMT Signal Cables 50 feet (15.24 meters)
	4
	
	

	PMT Stereo Power Cables
	4
	
	

	USB 2.0 A to B computer cable
	1
	
	

	Power Cable (mono) 6 feet
	1
	
	

	Outdoor box with access (optional)
	
	
	





Optional Parts

	Component
	Quantity
	Unpacking
	Packing

	Outdoor box with access
	1
	
	

	Tape measure
	1
	
	

	Velcro binding strips
	25
	
	

	Plastic Drop Cloths
	1
	
	

	Opaque 3 mil plastic garbage bags (42 gallon)
	5
	
	

	Electrical Tape
	3
	
	

	Multi-meter
	1
	
	



